## Financial Plan
CALL FOR QUOTATIONS FOR THE SUPPLY AND INSTALLATION OF FIRE ALARM SYSTEMS FOR THE CULTURAL AND RELIGIOUS TOURISM EXPERIENCE WITHIN ST DOMINIC PRIORY IN RABAT
Item | Description | Qty EU funded | Qty OP funded | TOTAL | Unit | Unit Price (€) | Total Price (€)
[6 empty] | Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT | Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
NOTE: The ceiling is xorok; installation is to be discretely hidden behind arches and on coving. White cable to be used everywhere except for sounders (see specs). Although drawing shows a combined sounder and detector, separate sounders and detectos are preferred especially in view of cabling colour.
1 | Supply, Install, Label,Test and Commission Fire Alarm system including accessories, cabling, cableways/canalisation, any chasing in walls & making good, plastering, etc for a complete installation to the satisfaction of the engineer for the following works:-
1.1 | Fire Alarm Panel | 1 | 0 | 1 | No
1.2 | Auto Dialler | 1 | 0 | 1 | No
1.3 | Smoke Detectors | 13 | 12 | 25 | No
1.4 | Heat Detector | 0 | 4 | 4 | No
1.5 | Isolators (as necessary) | 1 | 0 | 1 | LS
1.6 | Break Glass Units | 7 | 7 | 14 | No
1.7 | Sounders with flashing beacon | 3 | 6 | 9 | No
1.8 | Interface Units (as necessary) | 1 | 0 | 1 | LS
2 | Unbilled items, if any, to make all systems complete in accordance to Requirements (Tenderer to list items) | 1 |  |  | LS
3 | Labeling & coding as necessary, TESTING & COMMISSIONING, incl test documentation, of all installations, endorsed by Warranted Electrical Engineer | 1 |  |  | LS
4 | AS BUILT DRAWINGS & O&M manuals | 1 |  |  | LS
| TOTAL |  |  |  |  | € | 0