## Sheet1
FINANCIAL PLAN: THE SUPPLY OF STRUCTURED CABLING EQUIPMENT & MATERIAL AND SUPPLY AND INSTALL FIBRE OPTIC CABLE
| Description | Unit Price Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT | Unit | Quantity EU Funds | Quantity OP Funds | Total Quantities | Total Price Amount Including Taxes, Other Duties & Discounts but Exclusive of VAT
1 | Supply only
1.01 | Cabinet 8U as specified |  | no. | 1 | 0 | 1 | 0
1.02 | 1U Cable Manager |  | no. | 4 | 1 | 5 | 0
1.03 | UPS online - 700VA |  | no. | 1 | 1 | 2 | 0
1.04 | Cat 6 Patch Panel Uk Keystone Jacks for PP |  | no. | 24 | 24 | 48 | 0
1.05 | Cat 6 Patch Panel Uk Keystone Jacks for wall outlets |  | no. | 12 | 12 | 8 | 0
1.06 | Cat 6 Patch UTP Uk Faceplate (3x3) |  | no. | 12 | 12 | 4 | 0
1.07 | Cat 6 Cabling - FTP (shielded), 500m reel |  | reel | 3 | 0 | 3 | 0
1.08 | 2mtr FTP Cat 6 patch leads |  | no. | 24 | 24 | 48 | 0
1.09 | Cat 6 Patch Panel x 24 port |  | no. | 2 | 2 | 4 | 0
1.1 | 48 port Switch + POE as specified |  | no. | 1 | 1 | 2 | 0
1.11 | Wireless Access points as specified |  | no. | 12 | 0 | 14 | 0
1.12 | Multimode 10Gbps SFP+ transceivers as specified |  | no. | 2 | 0 | 2 | 0
1.13 | Multimode 10G OM3 Capable Fiber Patch Leads |  | no. | 2 | 0 | 2 | 0
1.14 | Multimode 10G OM3 Capable Fiber Cable as Specified (exact cable length required is to be measured on site before delivery and installation) |  | m | 100 | 0 | 100 | 0
1.15 | Multimode 10G Fiber Patch Panel |  | no. | 2 | 0 | 2 | 0
2 | Installation and Testing
2.01 | Installation of fibre optic cable and fibre patch panels (including termination at both ends). Any conduits, canalisation, penetrations, making good, etc. is to be included in the price |  | LS | 1 |  | 1 | 0
2.02 | Testing of Fibre Installation with Fluke (having valid calibration certificate) and submitting copy of results |  | LS | 1 |  | 1 | 0
3 | Delivery of material to Rabat |  | LS | 1 | 0 | 1 | 0
| GRAND TOTAL (EX VAT) | [5 empty] | 0