## Financial Plan
FINANCIAL PLAN: CALL FOR QUOTATIONS FOR THE SUPPLY OF ELECTRICAL MATERIALS FOR ST DOMINIC PRIORY IN RABAT
item | Qty EU funds | Qty Priory | Quantity Total | Unit | Unit Price Including Taxes, other Duties, and Discounts but Exclusive of VAT | TOTAL PRICE Including Taxes, other Duties, and Discounts but Exclusive of VAT
Anonised metal 36 Way 80A metal IP31 surface type distribution board with dinrail busbar, with compact type 63A 3-phase AC3 OverVoltageRegulation, 2kV 40kA T2 TPN surge protection, 40A 4P MCB incomer and Qty 7x 32A 2P RCBos outgoers and blanks (NB future 3-phase circuit breakers may be installed as outgoers) | 1 | 0 | 1 | LS |  | 0
non-metallic IP31 12 way recessed panel boards including incomer 32A 30mA single phase 2p RCBO; 2 outgoing 10A MCBs 6kA & 4 outgoing 25A MCBs 6kA | 3 | 4 | 7 | LS |  | 0
13A ivory white twin switched socket outlets to BS 1363 | 40 | 16 | 36 | no |  | 0
13A ivory white twin switched socket outlets to BS 1363 with USB ports | 10 | 10 | 12 | no |  | 0
13A bronze brush twin switched socket outlets to BS 1363 | 40 | 16 | 8 | no |  | 0
13A bronze brush twin switched socket outlets to BS 1363 with USB ports (see note A below) | 10 | 10 | 6 | no |  | 0
light points ceiling roses with 3 in-line terminals and earth terminals, In compliance with BS EN 61184, BS 67 | 18 | 12 | 30 | no |  | 0
1g 2w switch | 1 | 5 | 15 | no |  | 0
2g 2w switch | 3 | 3 | 6 | no |  | 0
3g 2w switch |  |  | 0 | no |  | 0
4g 2w switch |  | 1 | 1 | no |  | 0
5g 2w switch |  |  | 0 | no |  | 0
6g 2w switch |  |  | 0 | no |  | 0
dimmer switch | 6 | 0 | 6 | no |  | 0
PIR | 0 | 4 | 4 | no |  | 0
1c x 4sq mm stranded copper wire brown | 2 | 1 | 3 | 100m reel |  | 0
1c x 4sq mm stranded copper wire black | 2 | 1 | 3 | 100m reel |  | 0
1c x 4sq mm stranded copper wire green/yellow | 2 | 1 | 3 | 100m reel |  | 0
1c x 1.5sqmm stranded copper wire brown | 2 | 2 | 4 | 100m reel |  | 0
1c x 1.5sqmm stranded copper wire blue | 1 | 1 | 2 | 100m reel |  | 0
1c x 1.5sqmm stranded copper wire green/yellow | 1 | 1 | 2 | 100m reel |  | 0
1c x 2.5sqmm stranded copper wire brown | 1 | 0 | 1 | 100m reel |  | 0
1c x 2.5sqmm stranded copper wire black | 1 | 0 | 1 | 100m reel |  | 0
1c x 2.5sqmm stranded copper wire green/yellow | 1 | 0 | 1 | 100m reel |  | 0
5core x 16sqmm copper non-armoured xlpe cable | 120 | 0 | 120 | m |  | 0
3 core x 6sqmm copper non-armoured xlpe cable | 150 | 150 | 300 | m |  | 0
13A unswitched fuse connection unit | 2 | 0 | 2 | no. |  | 0
20A Double pole fused switch | 0 | 1 | 1 | no. |  | 0
PVC conduit 20mm | 4 | 4 | 8 | bundle x25 |  | 0
PVC conduit adapters 20mm | 1 | 0 | 1 | box x 50 |  | 0
PVC conduit sockets 20mm | 1 | 1 | 2 | pkt x 50 |  | 0
PVC back box 3x3 | 2 | 1 | 3 | no |  | 0
PVC back box 6x3 |  |  | 0 | no |  | 0
PVC round boxes complete with trousers/through boxes | 40 | 40 | 80 | no |  | 0
flexible conduit 20mm | 10 | 10 | 20 | m |  | 0
Insulated single phase fork type 12mm 63A solid copper busbar | 1 | 1 | 2 | no |  | 0
Cleats for 6sq mm cable | 3 | 2 | 5 | pkts |  | 0
cleats for 16sq mm cable | 3 | 0 | 3 | pkts |  | 0
glands for 6 sq mm cable | 6 | 8 | 14 | no. |  | 0
glands for 16 sq mm cable | 2 | 0 | 2 | no. |  | 0
Floor box | 20 | 0 | 20 | no. |  | 0
DELIVERY TO RABAT | 1 | 0 | 1 | LS |  | 0
GLOBAL PRICE (Including Taxes, other Duties, and Discounts but Exclusive of VAT) | [5 empty] | 0
Note A: if Bronze brush socket outlets with USB ports are not available, bronze brush sockets outlets without USB ports shall be accepted instead